## Slide 1: PROJECT: Miniature Uninterruptible Power Supply (UPS)

## Slide 2: Group 01
Nasif Zawad
Md. Naimul Islam
ID: 20200105218
ID: 20200105220
Humayra Tabassum
ID: 20200105221
Mehrin Islam
Mohammad Misbah Uddin
ID: 20200105222
ID: 20200105223
ID: 190205137
Tasdik Hossain

## Slide 3: Contents
Introduction | UPS vs IPS
Component List | Importance of UPS
Circuit Diagram (including physical view) | Real life Implements
Working Principle | Conclusion
Overview | 

## Slide 4: Introduction
The Uninterruptible Power Supply (UPS) project aims to ensure reliable power for enhanced performance. This presentation will cover the benefits, implementation process, and best practices for UPS systems.

## Slide 5: Component List
• 220v to 9*2v 600Ma Transformer
• L7808CV Voltage regulator 8V
• Buck Converter LM2596
• Fixed Resistors (R1, R2,R3,R4)=1KΩ
• Variable Resistor (VR)=50KΩ
• Electrolytic Capacitor 570µF
• MOSFETs (BR50N06)
• IC CD4047
• Battery 12V
• 91L16 AC voltmeter
• 1N4007 Diode

## Slide 6: Circuit Diagram

## Slide 7: Circuit Diagram (Physical View)

## Slide 8: Working Principle

## Slide 9: Step 1 : Input (Step Down Transformers)
Purpose of Step-down Transformer
Reason for Usage

## Slide 10: Step 2 : Rectifying
Rectifiers for AC to DC Conversion
Types and purpose of Full Wave Rectifiers

## Slide 11: Step 3 : Noise and Ripple Reduction
Electrolytic Capacitor 470µF
Function of Electrolytic Capacitor in DC Filtering
Importance

## Slide 12: Step 4 : Buck Converter
DC to DC LM2596 Buck Converter :
Input Voltage : 4.5V - 35V
Output Voltage : 3V - 35V
Minimum Pressure : 1.5V
Output Current : Rated Current 2A , Maximum of 3A
Output Power : 15W maximum

## Slide 13: Step 5 : Lead Acid Battery

## Slide 14: Step 5 : Lead Acid Battery (Charging & Discharging)
At Anode :
PbO2 + H2 + H2SO4→ PbSO4 + 2 H2O
At Cathode :
Pb + SO4→ PbSO4
At Anode :
PbSO4+SO4 +2H2O → PbO2+2H2SO4
At Cathode :
PbSO4+H2→H2SO4

## Slide 15: Step 5 : Lead Acid Battery (Charging & Discharging-Continued)

## Slide 16: Step 6 : Voltage Regulator
Introduction
Output Characteristics
Input Voltage Range
Current Handling
Applications
L7808CV Voltage Regulator

## Slide 17: Step 6 : Voltage Regulator (Pin Diagram)

## Slide 18: Step 6 : Voltage Regulator (Typical Application)

## Slide 19: Step 7 : IC CB4047BE
CD4047 Description
Features
Inverter Control
DC to AC conversion
Frequency and Duty cycle
Control Efficient
Power Conversion
CD4047 IC Pin Diagram

## Slide 20: Step 8 : N-channel MOSFET Gate
Basic ups inverter operation
Role of n channel mosfet
Switching process
Heat generation
Heat sink
Importance of heat sink

## Slide 21: Step 9 : Step Up Transformer
Purpose of Step-up Transformer
Reason for Usage

## Slide 22: Step 10 : Measuring Output Voltage
91L16 AC voltmeter

## Slide 23: Step 11 : Load and Switch
Switch

## Slide 24: Advantages
Initial Cost may be relatively high.
Maintenance Requirements for regular checks and battery replacement.
Limited Backup Time, especially during prolonged outages.
Battery Replacement Costs due to a limited lifespan.
Size and Weight, particularly for larger units.
Environmental Impact of hazardous battery disposal.
Efficiency Loss in the energy conversion process.
Complexity of Installation for larger or advanced systems.
Uninterrupted Power Supply.
Equipment Protection against power fluctuations.
Data Integrity through prevention of sudden shutdowns.
Smooth Transition between mains power and battery backup.
Voltage Regulation for consistent power delivery.
Backup Time for safe shutdown during outages.
Remote Monitoring and management capabilities.
Versatility in various sizes and types.
Disadvantages

## Slide 25: Overview

## Slide 26: UPS vs IPS

## Slide 27: UPS
In IPS, the main power supply goes directly to the inverter, simultaneously charging the battery and providing output power.
IPS takes around 500 milliseconds for power transition, slightly longer than UPS.
IPS is typically around 16 kVA or more, operating in 3 phases, designed for higher power loads.
IPS maintains the same voltage as the main power supply, without automated regulation.
In UPS, current is converted from AC to DC directly from the main, charging the battery for continuous use.
UPS transitions power in 3-8 milliseconds, providing a rapid and almost instant power supply.
UPS power is typically 2 kVA, suitable for a variety of applications.
UPS has automated voltage regulation set at 220V for stability.
More costly and complex than IPS
IPS

## Slide 28: Importance of UPS
1. Preventing Data Loss
2.Equipment Protection
3.Business Continuity
4.Telecommunication Reliability
5.Healthcare Safety
6.Industrial Processes
7.Financial Security
8.Home Electronics.
9.Remote and Off-Grid Power
10.Emergency Services

## Slide 29: Real Life Implements
Ensures continuous power supply to servers and networking equipment
Supports critical medical equipment to avoid disruptions during power fluctuations
Maintains power to control systems and machinery, preventing production downtime
Data Centers
Hospitals
Industrial Facilities

## Slide 30
Supports broadcast equipment to prevent disruptions in live broadcasts
Supports communication systems, dispatch centers, and emergency response equipmen
Emergency Services
Broadcasting and Media
Real Life Implements

## Slide 31: Conclusion
In conclusion, UPS systems play a vital role in ensuring reliable power for enhanced performance. By implementing best practices and leveraging advanced technologies, organizations can achieve seamless power continuity and mitigate risks associated with power disruptions.

## Slide 32: THANKS!